## Slide 1: Water Sampling Techniques to Identify Ground Water Contaminants
Corin Slown and David Holland

## Slide 2: Overview
Introductions
FSMA regulations and new requirements
Ag Waiver and Total Nitrogen
Ground water contaminants
Best practices for sampling
Questions

## Slide 3: Agricultural water can be a major conduit of pathogens that can contaminate produce FSMA’s produce safety rule sets microbial quality standards for agricultural water, including irrigation water that comes into contact with produce
If finalized, the new agricultural water compliance dates would begin January 26, 2022, for the largest farms. Small farms and very small farms would have until January 26, 2023, and January 26, 2024, respectively.
https://www.fda.gov/Food/GuidanceRegulation/FSMA/ucm334114.htm

## Slide 4: Food Safety Modernization Act (FSMA)
EQUIVALENT TESTING METHODOLOGY FOR AGRICULTURAL WATER
Method 1603: Escherichia coli (E. coli) in Water by Membrane Filtration Using Modified membrane-Thermotolerant Escherichia coli Agar (Modified mTEC) (September 2014). U.S. Environmental Protection Agency. EPA-821-R-14-010.
Method 1103.1: Escherichia coli (E. coli) in Water by Membrane Filtration Using membrane-Thermotolerant Escherichia coli Agar (mTEC) (March 2010). U.S. Environmental Protection Agency. EPA-821-R-10-002.
Method 1604: Total Coliforms and Escherichia coli in Water by Membrane Filtration Using a Simultaneous Detection Technique (MI Medium) (September 2002). U.S. Environmental Protection Agency. EPA-821-R-02-024.

## Slide 5: FSMA
The final rule establishes two sets of criteria for microbial water quality, both of which are based on the presence of generic E. coli, which can indicate the presence of fecal contamination.
No detectable generic E. coli are allowed for certain uses of agricultural water in which it is reasonably likely that potentially dangerous microbes, if present, would be transferred to produce through direct or indirect contact. Examples include water used for washing hands during and after harvest, water used on food-contact surfaces, water used to directly contact produce (including to make ice) during or after harvest, and water used for sprout irrigation. The rule establishes that such water use must be immediately discontinued and corrective actions taken before re-use for any of these purposes if generic E. coli is detected. The rule prohibits use of untreated surface water for any of these purposes.

## Slide 6: FSMA
The final rule establishes two sets of criteria for microbial water quality, both of which are based on the presence of generic E. coli, which can indicate the presence of fecal contamination.
The second set of numerical criteria is for agricultural water that is directly applied to growing produce (other than sprouts). The criteria are based on two values, the geometric mean (GM) and the statistical threshold (STV). The GM of samples is 126 or less CFU of generic E. coli per 100 mL of water and the STV of samples is 410 CFU or less of generic E. coli in 100 mL of water.
The GM is an average, and therefore represents what is called the central tendency of the water quality (essentially, the average amount of generic E. coli in a water source).
STV reflects the amount of variability in the water quality (indicating E. coli levels when adverse conditions come into play—like rainfall or a high river stage that can wash waste into rivers and canals). This is ~ as the level at which 90 percent of the samples are below the value.

## Slide 7: Testing
The final rule adopts the general approach to testing untreated water used for certain purposes. The rule still bases testing frequency on the type of water source (i.e. surface or ground water).
In testing untreated surface water—considered the most vulnerable to external influences—that is directly applied to growing produce (other than sprouts), the FDA requires farms to do an initial survey, using a minimum of 20 samples, collected as close as is practicable to harvest over the course of two to four years. The initial survey findings are used to calculate the GM and STV (these two figures are referred to as the “microbial water quality profile”) and determine if the water meets the required microbial quality criteria.
  After the initial survey has been conducted, an annual survey of a minimum of five samples per year is required to update the calculations of GM and STV.
  The five new samples, plus the previous most recent 15 samples, create a rolling dataset of 20 samples for use in confirming that that the water is still used appropriately by recalculating the GM and STV.

## Slide 8: Testing
For untreated ground water that is directly applied to growing produce (other than sprouts), the FDA requires farms to do an initial survey, using a minimum of four samples, collected as close as is practicable to harvest, during the growing season or over a period of one year. The initial survey findings are used to calculate the GM and STV and determine if the water meets the required microbial quality criteria.
  After the initial survey has been conducted, an annual survey of a minimum of one sample per year is required to update the calculations of GM and STV.
  The new sample, plus the previous most recent three samples, create a rolling dataset of four samples for use in confirming that that the water is still used appropriately by recalculating the GM and STV.

## Slide 9: Testing
For untreated ground water that is used for the purposes for which no detectable generic E. coli is allowed, the FDA requires farms to initially test the untreated ground water at least four times during the growing season or over a period of one year. Farms must determine whether the water can be used for that purpose based on these results.
  If the four initial sample results meet the no detectable generic E. coli criterion, testing can be done once annually thereafter, using a minimum of one sample. Farms must resume testing at least four times per growing season or year if any annual test fails to meet the microbial quality criterion.

## Slide 10: Exemptions
The rule does not apply to:
Produce that is not a raw agricultural commodity (RAC). A raw agricultural commodity is any food in its raw or natural state.
  The following produce commodities that FDA has identified as rarely consumed raw: asparagus; black beans, great Northern beans, kidney beans, lima beans, navy beans, and pinto beans; garden beets (roots and tops) and sugar beets; cashews; sour cherries; chickpeas; cocoa beans; coffee beans; collards; sweet corn; cranberries; dates; dill (seeds and weed); eggplants; figs; horseradish; hazelnuts; lentils; okra; peanuts; pecans; peppermint; potatoes; pumpkins; winter squash; sweet potatoes; and water chestnuts
Food grains, including barley, dent- or flint-corn, sorghum, oats, rice, rye, wheat, amaranth, quinoa, buckwheat, and oilseeds (e.g. cotton seed, flax seed, rapeseed, soybean, and sunflower seed)
Produce that is used for personal or on-farm consumption
Farms that have an average annual value of produce sold during the previous three-year period of $25,000 or less
The rule provides an exemption for produce that receives commercial processing that adequately reduces the presence of microorganisms of public health significance, under certain conditions.
The rule also provides a qualified exemption and modified requirements for certain farms.

## Slide 11: Produce Safety Rule Audits
USDA Harmonized GAP checklist
GlobalG.A.P. Sustainable Water checklist
SQF subpart E Agricultural Water

## Slide 12: The Water System Produce Safety Rule Requirements
Inspection of all agricultural water systems at start of agricultural season and on an annual basis

## Slide 13: Water System Requirements

## Slide 14: Water System Requirements

## Slide 15: Field Packed Commodities
Microbial water testing must occur during the production and harvest season.
The frequency of testing and point of water sampling shall be determined based on the risk assessment and current industry standards for commodities being grown (Testing must have occurred at a minimum within the last 12 months).
The type of test and acceptance criteria must also be determined based on the risk assessment but should include microbial pathogens of concern and standard indicators of fecal contamination (generic E. coli and/or fecal coliforms).
If all agricultural water is from a municipal source, the testing must be done at the source where the water is used.

## Slide 16: Irrigated Lands Regulatory Program Overview
The Central Coast Water Board regulates discharges from irrigated agricultural lands to protect surface water and groundwater, using a permit called a Conditional Waiver of Waste Discharge Requirements that applies to owners and operators of irrigated land used for commercial crop production. Focusing on priority water quality issues, such as pesticides and toxicity, nutrients, and sediments – especially nitrate impacts to drinking water sources. Priority: major agricultural areas of the region - the Salinas River, Santa Maria, and Pajaro River watersheds.
Irrigated Lands Regulatory Program Operational Measures
Irrigated Lands Regulatory Program Contacts
State Water Board's Agriculture - Irrigated Lands Regulatory Program Website

## Slide 17: Ag Order 4.0 Coming Soon
Ag Order 3.0 required groundwater monitoring in 2017 and also expands the Total Nitrogen Applied reporting requirement.
Growers must sample: 1) primary irrigation well located on each ranch, and 2) all domestic wells located on the assessor parcel numbers where the ranch is located during two rounds of sampling
Groundwater samples must be collected by a qualified third party, such as a consultant, technician or person conducting cooperative monitoring on behalf of the grower
Laboratory analysis must be conducted by a State certified laboratory that can coordinate with the grower to submit the sampling results electronically using the Water Board’s GeoTracker electronic deliverable format (known as EDF).

## Slide 18: Total Nitrogen Reporting
The Total Nitrogen Applied reporting requirement includes all Tier 2 and Tier 3 ranches that grow any crop with a high potential of loading nitrogen to groundwater.
These “high risk” crops include the following: beet, broccoli, cabbage, cauliflower, celery, Chinese cabbage (Napa), collard, endive, kale, leek, lettuce (leaf and head), mustard, onion (dry and green), spinach, strawberry, pepper (fruiting), and parsley.
If any of these crops are grown on your ranch, then a Total Nitrogen Applied report is required for all crops grown on the ranch.
The first Total Nitrogen Applied report for Ag Order 3.0 was due on March 1, 2018. Track all nitrogen applied from fertilizers, compost, and other materials to each crop; track the total volume of irrigation water applied to the ranch; sample your irrigation water for nitrate; and sample your soil for nitrogen

## Slide 19: Why does how you sample matter?
“Water quality data are only as good as the water samples from which the measurements are made. Even the most precise laboratory analysis of a water sample cannot compensate for improper or poorly executed sampling procedures or for physical and chemical alteration of a sample due to inappropriate sample collection, transport, or storage.”
THOMAS HARTER, UC Cooperative Extension Hydrogeology Specialist, University of California, Davis, Kearney Agricultural Center, Farm Water Quality Planning (FWQP) series Ground Water Sampling and Monitoring

## Slide 20: How frequently should you sample?
How often you should sample depends on the purpose of the sampling and
the depth of the aquifer formations from which the well draws water.

## Slide 21: Equipment
pumping or bailing equipment
water level meter
water quality measuring equipment (These may include probes and instruments for measuring temperature, pH, electric conductivity, dissolved oxygen, reduction-oxidation potential, etc. Inexpensive meters or test kits are available from hardware and pet supply stores.)
sample bottles The bottle should be emptied of the original water and dried. For containers for bacteriological samples, consult an analytical laboratory.)
field sampling labels and forms
preserving containers (coolers, ice, proper chemicals and tools for field preservation per laboratory instructions)

## Slide 23: Six Steps to Sampling
Sampling Preparations
Accessing the Well
Measuring the Water Level
Purging the Well
Collecting the Sample
Preserving the Sample

## Slide 24: Sources of Groundwater Contamination
Storage Tanks
Septic Systems
Uncontrolled Hazardous Waste
Landfills
Applied Chemicals
Atmospheric Contaminants
Surface Impoundments

## Slide 25: Contaminant Flow
•Ground water generally moves slowly, so do contaminants in ground water.
•Contaminants tend to remain concentrated in the form of a plume that flows along the same path as the ground water.
•The size and speed of the plume depend on the amount and type of contaminant, its solubility and density, and the velocity of the surrounding ground water.

## Slide 26: Ground Water Sampling and Quality Assurance
•Each sampling event provides a snapshot of water quality.
•The ground water environment is dynamic.
•Therefore, the frequency, location, and method of sampling must be well thought out.
•Well-defined sampling procedures ensure reliable data.
•Quality Assurance Project Plans described by the Regional Quality Control Board can offer guidance in designing your sampling program.

## Slide 27: Sample Collection Protocol
A written description of the actual sampling procedures to be used:
Determine the type of well construction, i.e. if well is perforated at multiple depths.
Determine if the water quality will change with pumping time. This can be based on changes in:
a) water level;
b) conductivity; or
c) water chemistry.
Determine the volume of water in the well and the rate of flow in order to calculate necessary purge volumes (usually 3-5) prior to collection.

## Slide 28: Other Resources
http://www.ccamp.org/ccamp/Reports.html#AgReports
https://producesafetyalliance.cornell.edu/sites/producesafetyalliance.cornell.edu/files/shared/documents/2017%20GM%20STV%20Worksheet%20v1.0.pdf
https://www.waterboards.ca.gov/publications_forms/publications/factsheets/docs/region_brds.pdf
https://www.waterboards.ca.gov/centralcoast/water_issues/programs/ag_waivers/